# Load Adjustment Factors

# Importance factor

Risk 1: Uninhabited (For example, a warehouse, storage, etc.) – 0.8

Risk 2: All other structures – 1.0

Risk 3: Important (For example, hospitals, schools) – 1.1

Risk 4: Critical (For example, a disaster shelter, nuclear power plant, etc.) – 1.2

# Heating factor

Unheated building (warehouse, garage, etc.) – 1.2

Heated greenhouse – 0.85

All other structures – 1.0

# Exposure factor

Fully exposed – 0.9

Partially exposed – 1.0

Sheltered – 1.2